# Monthly Kitchen Hood and Extraction System Maintenance Form

Equipment specific preventive maintenance and inspection

| Form code | PAYA EQ 15 | Revision | 1.0 |
| --- | --- | --- | --- |
| Restaurant or hotel |  | Site ID |  |
| Asset ID or QR |  | Location |  |
| Manufacturer |  | Model |  |
| Serial number |  | Visit date and time |  |
| Technician |  | Work order |  |

Complete after baseline acceptance. Manufacturer instructions and the site risk assessment take priority. Use only authorised procedures and create a finding for every exception.

# Result definitions

| Result | Meaning |
| --- | --- |
| OK | Acceptable at the time of maintenance. |
| Attention | Serviceable, but maintenance or monitoring is required. |
| Critical | Unsafe, failed, leaking, unable to perform its required function, or likely to cause major interruption. |
| N A | The check does not apply to this asset. |
| Not verified | Could not be safely or reliably checked; record why and the required follow-up. |

# Visit preparation and common safety checks

| No | Check | Result | Evidence or finding |
| --- | --- | --- | --- |
| 1 | Confirm asset ID or QR, location, make, model and serial number |  |  |
| 2 | Ask operator about faults, alarms, trips, leaks or performance changes since last visit |  |  |
| 3 | Confirm safe isolation and required shutdown before opening or cleaning service areas |  |  |
| 4 | Inspect plug, cable, isolator, guards, covers, feet, castors and accessible connections |  |  |
| 5 | Check for unusual noise, vibration, odour, overheating, corrosion, leakage or loose parts |  |  |
| 6 | Function test through a representative operating cycle without bypassing safety devices |  |  |
| 7 | Record required measurements with instrument ID and before and after values |  |  |
| 8 | Photograph exceptions and completed work; create a finding for every exception |  |  |
| 9 | Return equipment to a known safe operating condition and confirm with site representative |  |  |

# Kitchen Hood and Extraction System monthly tasks

| No | Equipment specific task | Result | Measurement evidence finding |
| --- | --- | --- | --- |
| 1 | Inspect grease filters for loading, damage and correct seating |  |  |
| 2 | Inspect hood, plenum and accessible duct surfaces for grease, corrosion and loose panels |  |  |
| 3 | Start fan and check capture at representative cooking load |  |  |
| 4 | Check motor and fan for abnormal noise, vibration, smell or overheating |  |  |
| 5 | Inspect belt and guard only where safely accessible and authorised |  |  |
| 6 | Check hood lights, switches and accessible wiring condition |  |  |
| 7 | Observe make-up air and signs of excessive negative pressure |  |  |
| 8 | Check remote fan and roof access status and specialist cleaning due date |  |  |
| 9 | Confirm fire-suppression nozzles are unobstructed without altering the system |  |  |

# Measurements

| Parameter | Setpoint or limit | Before | After | Instrument ID |
| --- | --- | --- | --- | --- |
| Temperature |  |  |  |  |
| Current or power |  |  |  |  |
| Pressure airflow or cycle |  |  |  |  |
| Other |  |  |  |  |

# Work performed

| Task parts or consumables | Quantity | Time | Result |
| --- | --- | --- | --- |

# Findings and evidence

| Finding ID | Description and photo IDs | Severity | Immediate action | Route and due |
| --- | --- | --- | --- | --- |

Route: monitor • planned maintenance • repair proposal • immediate escalation. Critical findings must be made safe within competence, communicated immediately and supported by evidence.

# Closeout and review

| Requirement | Confirmed |
| --- | --- |
| QR and asset identity confirmed | ☐ Yes ☐ No ☐ N A |
| Required measurements and instrument IDs recorded | ☐ Yes ☐ No ☐ N A |
| Before and after photos attached where work was performed | ☐ Yes ☐ No ☐ N A |
| Critical findings communicated immediately | ☐ Yes ☐ No ☐ N A |
| Equipment returned to a known safe operating condition | ☐ Yes ☐ No ☐ N A |
| Work area clean and customer informed | ☐ Yes ☐ No ☐ N A |
| Next due date and open actions updated | ☐ Yes ☐ No ☐ N A |

Technician submission:  ☐ Complete  ☐ Incomplete     Engineer review:  ☐ Approved  ☐ Returned     Customer:  ☐ Acknowledged

| Technician signature |  | Date and time |  |
| --- | --- | --- | --- |
| Engineer reviewer |  | Date and time |  |
| Customer representative |  | Date and time |  |

Do not bypass protection or safety devices. Work involving live electrical exposure, gas tightness or combustion testing, sealed refrigeration circuits, fire-system certification or other regulated activities must be assigned to appropriately authorised personnel.